## Sheet1
Drexan Catalog
PipeGuardÒ Warm Self-Regulating Heating Cable (PG) (Class 1 Division 1/2 Hazardous Area Classification)
Description |  | Catalog Number |  | Suggested LIST PRICE (FT)
120 Volt Heating Cable
Heating Cable with |  | PGW-3-1SJP |  | 7
Modified Polyolefin Jacket |  | PGW-5-1SJP |  | 7
over metal Braid |  | PGW-8-1SJP |  | 7
|  | PGW-10-1SJP |  | 7
120 Volt Heating Cable
Heating Cable with |  | PGW-3-1SJ |  | 8.7
Fluoropolymer Jacket |  | PGW-5-1SJ |  | 8.7
over metal Braid |  | PGW-8-1SJ |  | 8.7
|  | PGW-10-1SJ |  | 8.7
240 Volt Heating Cable
Heating Cable with |  | PGW-3-2SJP |  | 7
Modified Polyolefin Jacket |  | PGW-5-2SJP |  | 7
over metal Braid |  | PGW-8-2SJP |  | 7
|  | PGW-10-2SJP |  | 7
240 Volt Heating Cable
Heating Cable with |  | PGW-3-2SJ |  | 8.7
Fluoropolymer Jacket |  | PGW-5-2SJ |  | 8.7
over metal Braid |  | PGW-8-2SJ |  | 8.7
|  | PGW-10-2SJ |  | 8.7
PGW=PG
Components for use with Drexan HeatTrace PipeGuard Heating Cable
Components (Class I Division 2 Area Classification)
Description | Part Number | Catalog Number |  | Suggested LIST PRICE
High Profile Power Connection Kit/Tee/Splice - up to 3 heaters *(now incl. 3 core sealers) | DREX0069 | AMIGA-3 |  | 283
*NOTE: extra core sealers no longer required with AMIGA-3 (only 1 supplied previously) | DREX0029 | CORE SEALER |  | 9.29
* NEW PRODUCT High Profile Single Power Connection Kit (includes a single core sealer) | DREX0079 | AMIGA-1 |  | 214.67
* NEW PRODUCT High Profile End Seal | DREX0080 | AMIGA-E |  | 92.86
* NEW PRODUCT High Profile Lighted End Seal (120-277V) blue/green LEDs | DREX0081 | AMIGA-LE |  | 285
* NEW PRODUCT High Profile Lighted End Seal (120 - 240V) green LEDs | DREX0082 | HP-LE |  | 149
High Profile Fiber Glass JB (one power and up to 3 heaters) | DREX0057 | HP-FG-JB |  | 283
HeatShrink Components (Class I Division 2 Area Classification)
Description | Part Number | Catalog Number |  | Suggested LIST PRICE
Power Connection Kit - Low Profile (Includes 1 HS-ESK end seal) | DREX0015 | HS-PC |  | 40
Splice/Tee - Low Profile (2 heating cables) | DREX0016 | HS-TSPLICE |  | 44.92
End Seal - Low Profile (Package of 5) | DREX0017 | HS-ESK |  | 40.43
HeatShrink Power Connection- c/w Pipe Mounting Kit | DREX0042 | HS-BRK |  | 48
HeatShrink Junction Box | DREX0043 | HS-JB |  | 52.55
HeatShrink Above Insulation Mounting Bracket | DREX0045 | HS-BRAK |  | 36
Bulk Parts to build 50 HS-PC Kits |  | HS-PC-BULK50 |  | call for quote
Bulk Parts to build 50 HS-TSPLICE Kits |  | HS-TSPLICE-BULK50 |  | call for quote
Bulk Parts to build HS-ESK 50 pcs |  | HS-ES Bulk50 |  | call for quote
Cast Metallic Aluminum Components (Class I Div 2 Area Classification)
Description | Part Number | Catalog Number |  | Suggested LIST PRICE
Power Connection Kit - Low Profile (Single Heating Cable) | DREX0001 (AL) | LP-PC-1-AL |  | 96.11
Power Connection Kit/Tee - Low Profile (Two Heating Cables) | DREX0002 (AL) | LP-PC-2-AL |  | 96.11
Tee Kit - Low Profile (Three Heating Cables) | DREX0003 (AL) | LP-T-AL |  | 104
for Div.1 use LP-T-AL-D1 and 3 DIV1-ADP kits | DREX0005(AL)-D1 | LP-T-AL-D1 |  | 249.29
Power Connection Kit - High Profile (Single Heating Cable) | DREX0004 (AL) | HP-PC-1-AL |  | 134.36
Power Connection Kit/Tee - High Profile (for Two Heating Cables) | DREX0005 (AL) | HP-PCT-2-AL |  | 197
Power Connection Kit/Tee - Low Profile (for Two Heating Cables) | DREX0006 (AL) | LP-PCT-2-AL |  | 98
for Div.1 contact Drexan Energy Systems
End Seal - Low Profile | DREX0007 (AL) | LP-E-AL |  | 63.93
for Div. 1 use the HP-E-D1 (GUA26) with one DIV1-ADP kit | DREX0007(AL)-D1 | LP-E-D1 |  | 88.22
Splice Kit - Low Profile (up to Div. 2 only) | DREX0008 (AL) | LP-S-AL |  | 92
for Div. 1 splice use LP-PC-1-AL with 2 x DIV1-ADP
High Profile Bracketing Kit | DREX0046 | HP-BRAK |  | 33
End Seal High Profile Adaptor Bracket | DREX0020 | HP-ESA |  | 29.0571
Flexible Extension | DREX0009 | FLEX-E |  | 76
NEW OMNITRACE WARM Self-Regulating Heating Cable
OT=OTW |  | Catalog Number |  | Suggested LIST PRICE
120 Volt Heating Cable
Heating Cable with |  | OT-5-1SJP |  | 4.88
Modified Polyolefin Jacket |  | OT-8-1SJP |  | 4.88
over metal Braid |  | OT-10-1SJP |  | 4.88
120 Volt Heating Cable
Heating Cable with |  | OT-5-1SJ |  | 7.67
Fluoropolymer Jacket |  | OT-8-1SJ |  | 7.67
over metal Braid |  | OT-10-1SJ |  | 7.67
240 Volt Heating Cable
Heating Cable with |  | OT-5-2SJP |  | 4.88
Modified Polyolefin Jacket |  | OT-8-2SJP |  | 4.88
over metal Braid |  | OT-10-2SJP |  | 4.88
240 Volt Heating Cable
Heating Cable with |  | OT-5-2SJ |  | 7.67
Fluoropolymer Jacket |  | OT-8-2SJ |  | 7.67
over metal Braid |  | OT-10-2SJ |  | 7.67
OmniTrace Warm 1000 FT Spools available for +$0.10/FT |  | OT-X-XSJP-1000
OmniTrace Warm 1000 FT Spools available for +$0.10/FT |  | OT-X-XSJ-1000
OMNITRACE WARM Components (Class I Div 2 Area Classification)
Description | Part Number | Catalog Number |  | Suggested LIST PRICE
Power Connection Kit/Tee/Splice - up to 3 heaters | DREX0069 | AMIGA-3 |  | 283
Power Connection Kit / one heater | DREX0079 | AMIGA-1 |  | 214.67
High Profile End Seal Kit / no light | DREX0080 | AMIGA-E |  | 92.86
High Profile Lighted End Seal (130 - 277V) | DREX0081 | AMIGA-LE |  | 285
Class I Div 1 Adapter Kit for Use with Cast Metallic Aluminum Components
Description | Part Number | Catalog Number |  | Suggested LIST PRICE
Adapter Kit - Class 1 Division 1 | DREX0019(AL) | DIV1 ADP |  | 171.43
PipeGuard Hot Self-Regulating (PGH) (CID1/2 Hazardous Area Classification)
Description | Part Number | Catalog Number |  | Suggested LIST PRICE (FT)
120 Volt Heating Cable
Heating Cable with |  | PGH-5-1SJ |  | 15.42
Fluoropolymer Jacket |  | PGH-10-1SJ |  | 15.42
over metal Braid |  | PGH-15-1SJ |  | 15.42
|  | PGH-20-1SJ |  | 15.42
240 Volt Heating Cable
Heating Cable with |  | PGH-5-2SJ |  | 15.42
Fluoropolymer Jacket |  | PGH-10-2SJ |  | 15.42
over metal Braid |  | PGH-15-2SJ |  | 15.42
|  | PGH-20-2SJ |  | 15.42
*PipeGuard Hot Cable is also available on a 500 ft spool for an additional charge of 0.10 cents per foot-($50)
*PipeGuard Hot is NOT available In 1000' lengths/spools
Components for use with Drexan HeatTracer PipeGuard Hot Heating Cable
Non-metallic Components (Class I Div 2 Area Classification)
Description | Part Number | Catalog Number |  | Suggested LIST PRICE
High Profile Power Connection Kit/Tee/Splice - up to 3 heaters *(now incl. 3 core sealers) | DREX0069 | AMIGA-3 |  | 283
*NOTE: extra core sealers no longer required with AMIGA-3 (only 1 supplied previously) | DREX0029 | CORE SEALER |  | 9.29
* NEW PRODUCT High Profile Single Power Connection Kit (includes a single core sealer) | DREX0079 | AMIGA-1 |  | 214.67
* NEW PRODUCT High Profile End Seal | DREX0080 | AMIGA-E |  | 92.86
* NEW PRODUCT High Profile Lighted End Seal (120-277V) blue/green LEDs | DREX0081 | AMIGA-LE |  | 285
High Profile Lighted End Seal (120V) | DREX0022 | HP-LE-1R |  | 218.75
Teflon Shrink End Seal (Package of 3) | DREX0040 | HS-HT-E |  | 49.95
Power Connection Kit w/o Junction Box | DREX0054 | PG-TERM |  | 49.95
High Profile Fiber Glass JB (one power and up to 3 heaters) | DREX0057 | HP-FG-JB |  | 283
Cast Metallic Aluminum Components (Class I Div 2 Area Classification)
Description | Part Number | Catalog Number |  | Suggested LIST PRICE
Power Connection Kit - Low Profile (Single Heating Cable) | DREX0001 (AL) | LP-PC-1-AL |  | 96.11
Power Connection Kit/Tee - Low Profile (Two Heating Cables) | DREX0002 (AL) | LP-PC-2-AL |  | 96.11
Tee Kit - Low Profile (Three Heating Cables) | DREX0003 (AL) | LP-T-AL |  | 104
for Div.1 use LP-T-AL-D1 and 3 DIV1-ADP kits | DREX0005(AL)-D1 | LP-T-AL-D1 |  | 249.29
Power Connection Kit - High Profile (Single Heating Cable) | DREX0004 (AL) | HP-PC-1-AL |  | 134.36
Power Connection Kit/Tee - High Profile (for Two Heating Cables) | DREX0005 (AL) | HP-PCT-2-AL |  | 197
Power Connection Kit/Tee - Low Profile (for Two Heating Cables) | DREX0006 (AL) | LP-PCT-2-AL |  | 109
for Div.1 contact Drexan Energy Systems
End Seal - Low Profile | DREX0007 (AL) | LP-E-AL |  | 63.93
for Div. 1 use the HP-E-D1 (GUA 26) with the one DIV1-ADP kit | DREX0007(AL)-D1 | LP-E-D1 |  | 88.22
Spice Kit - Low Profile | DREX0008 (AL) | LP-S-AL |  | 92
for Div. 1 splice use LP-PC-1-AL with 2 x DIV1-ADP
High Profile Bracketing Kit | DREX0046 | HP-BRAK |  | 30
End Seal High Profile Adaptor Bracket | DREX0020 | HP-ESA |  | 32.0571
Flexible Extension | DREX0009 | FLEX-E |  | 76
Class I Div 1 Adapter Kit for Use with Cast Metallic Aluminum Components
Description | Part Number | Catalog Number |  | Suggested LIST PRICE
Adapter Kit - Class 1 Division 1 | DREX0019(AL) | DIV1 ADP |  | 171.43
NEW OMNITRACE HOT Self-Regulating Heating Cable
Description |  | Catalog Number |  | Suggested LIST PRICE
120 Volt Heating Cable
Heating Cable with |  | OTH-5-1SJ |  | 10.42
Fluoropolymer Jacket |  | OTH-10-1SJ |  | 10.42
over metal Braid |  | OTH-15-1SJ |  | 10.42
|  | OTH-20-1SJ |  | 10.42
|  | OTH-25-1SJ |  | 10.42
|  | OTH-30-1SJ |  | 10.42
240 Volt Heating Cable |  | OTH-5-2SJ |  | 10.42
Heating Cable with |  | OTH-10-2SJ |  | 10.42
Fluoropolymer Jacket |  | OTH-15-2SJ |  | 10.42
over metal Braid |  | OTH-20-2SJ |  | 10.42
|  | OTH-25-2SJ |  | 10.42
|  | OTH-30-2SJ |  | 10.42
OMNITRACE HOT Components (Class I Div 2 Area Classification)
Description | Part Number | Catalog Number |  | Suggested LIST PRICE
Power Connection Kit/Tee/Splice - up to 3 heaters | DREX0069 | AMIGA-3 |  | 283
Power Connection Kit / one heater | DREX0079 | AMIGA-1 |  | 214.67
High Profile End Seal Kit / no light | DREX0080 | AMIGA-E |  | 92.86
High Profile Lighted End Seal (130 - 277V) | DREX0081 | AMIGA-LE |  | 285
MultiTrace Heating Cable (Ordinary Area Classification)
Description | Part Number | Catalog Number |  | Suggested LIST PRICE (FT)
120 Volt Heating Cable |  | MT-5-1 |  | 5
Heating Cable with |  | MT-8-1 |  | 5
Modified Polyolefin Jacket |  | MT-10-1 |  | 5
over metal Braid
240 Volt Heating Cable
Heating Cable with |  | MT-5-2 |  | 5
Modified Polyolefin Jacket |  | MT-8-2 |  | 5
over metal Braid |  | MT-10-2 |  | 5
*MultiTrace Cable is also available on 1000 ft spool for an additional charge of $0.10/ft or $100 per spool- minimum order of 5,000 ft.
MultiTrace Pre-Terminated Cable Sets For Roof/Gutter (Ordinary Areas Only)
Description | Part Number | Catalog Number |  | Suggested LIST PRICE
120 Volt Heating Cable ( c/w GFI) |  | MT5-5FT |  | 78
|  | MT5-10FT |  | 94
12 Watts/ft. in ice/snow |  | MT5-15FT |  | 109
|  | MT5-25FT |  | 141
|  | MT5-50FT |  | 221
|  | MT5-75FT |  | 299
|  | MT5-100FT |  | 379
Components (Ordinary & Division 2 Area Classification) for MultiTrace
Description | Part Number | Catalog Number |  | Suggested LIST PRICE
High Profile Power Connection Kit/Tee/Splice - up to 3 heaters *(now incl. 3 core sealers) | DREX0069 | AMIGA-3 |  | 283
*NOTE: extra core sealers no longer required with AMIGA-3 (only 1 supplied previously) | DREX0029 | CORE SEALER |  | 9.29
* NEW PRODUCT High Profile Single Power Connection Kit | DREX0079 | AMIGA-1 |  | 214.67
* NEW PRODUCT High Profile End Seal | DREX0080 | AMIGA-E |  | 92.86
* NEW PRODUCT High Profile Lighted End Seal (120-277V) blue/green LEDs | DREX0081 | AMIGA-LE |  | 285
* NEW PRODUCT High Profile Lighted End Seal (120 - 240V) green LEDs |  | HP-LE |  | 149
Power Connection Kit - Low Profile (Includes 1 HS-ESK end seal) | DREX0015 | HS-PC |  | 40
Splice/Tee - Low Profile (2 heating cables, includes 2 HS-ESK) | DREX0016 | HS-TSPLICE |  | 44.92
End Seal - Low Profile (Package of 5) | DREX0017 | HS-ESK |  | 40.43
HeatShrink Junction Box | DREX0043 | HS-JB |  | 52.55
HeatShrink Above Insulation Mounting Bracket | DREX0045 | HS-BRAK |  | 36
Cable Fastening Accessories (MultiTrace Cable)
Description | Part Number | Catalog Number |  | Suggested LIST PRICE
Downspout Cable Supports | DREX0028 | MT-CS |  | 16.48
Roof Clips (pkg 50) | DREX0038 | RC-50 |  | 67.25
Snow Melting and De-Icing Controls (Ordinary Area Classifications)
Description | Part Number |  |  | Suggested LIST PRICE
Single Snow Sensor/Controller 100-277V AC (1 x 30A @ 277V AC )remote with10' cable | DS-8C |  |  | 339
Dual Snow Sensor/Controller 100-277V AC (2 x 30A @ 277V AC)remote with10' cable | DS-9C |  |  | 359.38
Indoor Snow Sensor Control/Display Panel | CDP-2 |  |  | 112.5
Single Snow SensorController for Pavement | DS-2C |  |  | 296.88
2 Circuit Indoor Digital Controller (208V/240V) | DC-AS22
4 Circuit Indoor Digital Controller (120-277V) | DC-AS4
8 Circuit Indoor Digital Controller (120-277V) | DC-AS8
EPD Breaker (240VAC) 30A | AC-EPD230
EPD Breaker (120VAC) 30A | AC-EPD130
HotTape Heating Cable (HT) (Class I, Div 2)
Description |  | Catalog Number |  | Suggested LIST PRICE (FT)
120 Volt Heating Cable
Heating Cable with
Modified Polyolefin Jacket |  | HT8-1 |  | 4.25
240 Volt Heating Cable
Heating Cable with
Modified Polyolefin Jacket |  | HT8-2 |  | 4.25
*HotTape Heating Cable comes in standard lengths of 500 ft. flat in pack bundle MOQ 5000'
Components for use with Drexan HeatTracer HotTape Heating Cable
HeatShrink Components ((Class I, Div 2))
Description | Part Number | Catalog Number |  | Suggested LIST PRICE
Power Connection Kit - Low Profile (Includes 1 HT-ESK end seal) | DREX 0015-C | HS-PC |  | 40
Splice/Tee - Low Profile (2 heating cables) | DREX 0016-C | HS-TSPLICE |  | 44.92
End Seal - Low Profile (Package of 5) | DREX 0017-C | HS-ESK |  | 40.43
HeatShrink Junction Box | DREX0043 | HS-JB |  | 52.55
HeatShrink Above Insulation Mounting Bracket | DREX0045 | HS-BRAK |  | 36
HotTape Pre-Terminated Cable Sets (Ordinary Areas Only)
Description |  | Catalog Number |  | Suggested LIST PRICE (each)
120 Volt Heating Cable ( c/w GFI)
8 WATTS/FT |  | HT8-5FT |  | 78
|  | HT8-10FT |  | 94
|  | HT8-15FT |  | 109
|  | HT8-25FT |  | 141
|  | HT8-50FT |  | 221
|  | HT8-75FT |  | 299
|  | HT8-100FT |  | 379
Spare Parts and Component Accessories (All Cables)
Description | Part Number | Catalog Number |  | Suggested LIST PRICE
Accessories
1 Hole Grommet (single heater) 10/bag | DREX0044 | GR-1HT | pkg10 | 45.9
2 Hole Grommet (two heaters) 5/bag | DREX0048 | GR-2HT | pkg 5 | 45.9
Core Sealer | DREX0029 | CORE SEALER KENVOX |  | 9.29
Tape, Clips, Fasteners
Glass Cloth Tape (66'/roll) |  | TAPE-GCR-HT |  | 14
For use on pipes other than Stainless Steel min appl temp 40°F (5°C)
Glass Cloth Tape (54'/roll) |  | TAPE-GCS-LT |  | 14
For use on all pipes particularly Stainless Steel min appl temp -40°F (-40°C)
Aluminum Foil Tape (180'/roll) |  | TAPE-AL |  | 78.57
Labels
Elec. Warning Label (English) |  | WARN-EN |  | 1.25
Elec. Warning Label (French) |  | WARN-FR |  | 1.25
Pipe Straps
For component installation on 1"-2" pipe |  | PIPESTRAP2/HAS24 |  | 3
For component installation on 2"-3" pipe |  | PIPESTRAP3/HAS48 |  | 3.5
For component installation on 4"- 6" pipe |  | PIPESTRAP4"-6"/HAS88 |  | 3.75
For component installation on 8" pipe |  | PIPESTRAP8"/HAS48 |  | 4.1
Quick Release Pipe Strap- adjustable for 2"-10" pipe |  | PIPE STRAP 2"-10" |  | 4.95
Thermostats & Controls (Ordinary and Hazardous Area Classification)
All Thermostats
Description |  | Catalog Number |  | Controllers
call for quote
Thermostats
Thermostat - Line Sensing (set @ 40°F) |  | STAT-LS-40F
Thermostat - Line Sensing - Adjustable (25°F to 325°F) |  | STAT-LS-ADJ
Thermostat - Line Sensing - Adjustable Explosion Proof (25°F to 325°F) |  | STAT-TXR-ADJ
Electronic Controller Single Point Controller |  | Electronic Controller | 9002-2001 120V
single pole switching rated 30A @ 120Vac |  |  | 9002-2003 277V
digital setpoint 0 to 511 deg. C / 0 to 511 deg. F non-ambiguous
Mounted in a 8"H x 6'W x 4.5" weather-proof, NEMA-4X
NEMA-4X black powder-coated steel enclosure
c/w quick release latches
c/w one 3/4"conduit knockout for power
c/w two 1/2" conduit knockouts for RTD and signal wiring
c/w Seven foot, 3-wire, 100-ohm, Platinum RTD sensor
c/w ground fault protection device
CSA Certified for installation in Class I, Division II hazloc areas
Electronic Controller DP Single Point Controller |  | Electronic Controller-DP | 9002-2002 208-277V
dual-pole switching rated 30 @ 208/240 VAC
digital setpoint 0 to 511 / 0 to 511 non-ambiguous
mounted in a 10"H x 8'W x 4.5"D weather-proof,
NEMA-4X black powder-coated steel enclosure
c/w quick release latches
c/w one 3/4" conduit knockout for power
c/w two 1/2" conduit knockouts for RTD and signal wiring
c/w Seven foot, 3-wire, 100-ohm, Platinum RTD sensor
c/w ground fault protection device
CSA Certified for installation in Class 1, Division II hazloc areas
*For Factory Programmed Set Points, add $75 for one point and $100 for two point
Thermostats & Controls- continued
Description |  | Catalog Number
CSA Certified for installation in Class 1, Division II hazloc areas
Electronic Controller II-CTR Two Point Controller |  | Electronic Controller-II-CTR
single pole switching rated @ 120 or 277 VAC
digital setpoint 0 to 511 / 0 to 511 non-ambiguous
c/w liquid crystal display (LCD) (internal programming/dip switch)
Mounted in a 10"H x 8"W x 4"D weather-proof,
NEMA-4X black powder-coated steel enclosure
c/w quick release latches
c/w one 11/4" conduit knockout for power
c/w two .843" conduit knocks for RTD wiring
c/w .875" conduit knocks for signal wiring
c/w one .610" knocks for RS232 communications
c/w ground fault protection device
CSA Certified for installation in Class 1, Division II hazloc areas
Electronic Controller II-CTR-2 Pole - Two Point Controller |  | Electronic Controller-II DP-CTR
dual pole switching rated @ 208 or 240 VAC
digital setpoint 0 to 511 / 0 to 511 non-ambiguous
c/w liquid crystal display (LCD) (internal programming/dip switch)
Mounted in a 10"H x 8"W x 4"D weather-proof,
NEMA-4X black powder-coated steel enclosure
c/w quick release latches
c/w one 11/4" conduit knockout for power
c/w two .843" conduit knocks for RTD wiring
c/w .875" conduit knocks for signal wiring
c/w one .610" knocks for RS232 communications
c/w ground fault protection device
CSA Certified for installation in Class 1, Division II hazloc areas
MS2101 |  | MS2101
Single point, Two pole Controller
Solid state switching
rated 30A @ 85-300VAC maximum
mounted in a 10"H x 8"W x 6"D
NEMA-4X black-painted steel enclosure
designed for unistrut (or equivalent) mounting
c/w 32 Character LCD Numeric local display/interface(ext prog)
c/w two RTD sensor inputs
c/w one RS-485 5erial communications port
c/w one AC triac, one DC opto-isolated contact and
one LED Alarm Indicator output
CSA Certified for Class 1, Division II hazardous areas
Programming- add $150
MS2102 Single pole SSR |  | MS2102
Two point, Single pole Controller
rated 30A @ 85-280VAC maximum
mounted in a 10"H x 8"W x 6"D
NEMA-4X black-painted steel enclosure
designed for Unistrut (or equivalent) mounting
c/w 32 Character LCD Numeric local display/interface (ext prog)
c/w one RTD sensor input per circuit
c/w one RS.485 serial communications port
c/w one AC triac, one DC opto-isolated contact and
one LED Alarm Indicator output
CSA Certified for Class 1 .Division II hazardous areas
Programming- add $200
*For Factory Programmed Set Points, add $75 for one point and $100 for two point
3 Wire 100 ohm Platinum RTD
c/w 316 SS, 1/4" O.D. 6" long sheath
c/w 22 awg, teflon insulated, SS overbraid wire
Rated to 200
Part # RTD-XX
7 ft long stock |  | RTD-07
15 ft long 2-3 weeks |  | RTD-15
20 ft long 2-3 weeks |  | RTD-20
25 ft long 2-3 weeks |  | RTD-25
30 ft long 2-3 weeks |  | RTD-30
40 ft long 2-3 weeks |  | RTD-40
Pipe Mount RTD, NEMA 4X |  | RTD-PM |  | 213